CROXLEY GREEN REVELS 2025
Fire Instructions to Stallholders and other Participants
The Revels Team wish you all to have a safe and secure Revels. Below are a few reminders to those of you who are stallholders or participants. If you have any queries on these instructions, please call The Chief Steward / Fire Marshal on 07540 409031.

General.

It is your responsibility to ensure any activity you undertake on your stall is as safe as possible for yourself, your helpers and the general public. If you are using a
Generator;
Make sure the exhaust is away from any combustible material.

If it’s a petrol generator, refuel with the machine off and in an open area away from naked flames.

Do not use old cabling or other electrical equipment that could cause a fire risk.

Always be aware of the possibility of the generator overheating.

Do not exceed the generators output.

Bring adequate fire protection measures with you.

LPG/Butane/Propane : 
Make sure all connection are tight and leak free.




Make sure all hoses are in good condition.





Use the correct gas for the equipment.





Keep the gas cylinders out of direct sunlight.





Bring adequate fire protection measures with you

Electrical Equipment: 
Make sure any tea urns and the like are fit for purpose. If you are in  any doubt seek advice or refuse to use it. 

Ensure any cabling is not twisted and no wires are showing.


Check to see if hired equipment has a PAT (Portable Appliance Tested) sticker thereon. If not return it and get one that is.


Bring adequate fire protection measures with you

Hot Cooking Equipment:
Keep the cooking equipment away from members of the   public. 

Dispose of hot fat / charcoal or other cooking residues with care.



Bring adequate fire protection measures with you

Vehicles:
If using your vehicle, ensure that you have adequate means of extinguishing a fire. Should a fire occur EVACUATE your vehicle immediately together with any others and call the Fire Service by the 999 system.
The Chief Marshall / Fire Officer has the right to close any equipment down that he / she reasonably believes may cause ANY risk to yourself, those participating in the events or any members of the public. Failure to close down any such equipment will result in you and / or your organisation being removed from The Revels forthwith.  

Date: 20 May 2025
